## Slide 1: Vibrating Wire Piezometers

## Slide 2: When and where VWPZ are used
Where its used
Used for monitoring dams' concrete integrity
Used in areas with high risk of sink holes
Used for measuring ground water level in boreholes
Used for measuring pressure in industrial water flowing pipes
Borehole installation

## Slide 3: Internal diagram of VWPZ

## Slide 4: How it works
Vibrating Wire
Pluck coil
Read coil
Magnet

## Slide 5: Equations
frequency of the wire=
L = original length of the wire
P = volumetric weight of the wire
g = gravitational constant
= strain of the wire
Linear Units (Digits calculation) =
Hz = resonant frequency of the wire
Use this equation for converting to pressure
Pressure conversion from digits calculation =
G = linear gauge factor (dependent on manufacturer)

## Slide 6: How its read
Frequency Response and SNR Comparison
Frequency Response and SNR Comparison

## Slide 7: Calibration Example
Pressure calculation Example:
Pressure conversion =
(8293 - 8888) * (-0.1168) = 69.5 kPa

## Slide 8: Work Cited
Model 4500 Series Vibrating Wire Piezometer - GEOKON, www.geokon.com/content/manuals/4500_Piezometer.pdf. Accessed 21 Mar. 2024.
“Reading Vibrating Wire Sensors: Spectral Analysis a Method to Determine the Resonant Frequency of Vibrating Wire Sensors with Improved Noise Immunity.” Reading Vibrating Wire Sensors: Spectral Analysis: A Method To..., www.campbellsci.com/vspect/spectral-analysis. Accessed 21 Mar. 2024.
“André Coyne.” Wikipedia, Wikimedia Foundation, 24 Aug. 2022, en.wikipedia.org/wiki/Andr%C3%A9_Coyne.